## DRIEFONTEIN
BILL OF MATERIAL FOR PROVISION OF MECHANICAL MAINTENANCE SERVICES
SECTION A: DRIEFONTEIN WATER TREATMENT WORKS
Item no | Item Description | UOM | QTY | Unit Price Yr 1 | Unit Price Yr 2 | Unit Price Yr 3
SECTION A: RAW WATER PUMP STATION
A1 | Raw Water Pumps
A1.1 | 1. Removal of the existing 75Kw KSB pump with Electrical Motor | no | 1
A1.2 | 2. Supply & Deliver a 75Kw KSB pump with Electrical Motor | no | 1
A1.3 | 3. Installation of a 75Kw KSB pump with Electrical Motor | no | 1
A1.4 | 4. Commission the 75Kw KSB pump | no | 1
A1.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 75Kw KSB pump | no | 1
A1.6 | 6. Carry out an annual motor maintenance | no | 1
A1.7 | 7. Carry out an annual pump maintenance | no | 1
CHEMICAL DOSING SYSTEM
A2 | Chemical Dosing Pumps | no | 1
A2.1 | 1. Removal of the existing Grundfos DMX 4-10 Dosing pump | no | 1
A2.2 | 2. Supply & Deliver a Grundfos DMX 4-10 Dosing pump | no | 1
A2.3 | 3. Installation of a Grundfos DMX 4-10 Dosing pump with pipework | no | 1
A2.4 | 4. Commission the Grundfos DMX 4-10 Dosing pump | no | 1
A2.5 | 5. Carry out an annual pump maintenance and calibration on the DMX 4-10 Dosing pumps | no | 1
FLOCCULATION CHANNEL
A3. | Flocculation Channel
A3.1 | Sludge removal from the 8x4x0.6m Flocculation chamber once per year | m3 | 3.2
A3.2 | High Pressure Cleaning of the flocculation chamber once per year | m2 | 32
SAND FILTRATION SYSTEM
A4. | SAND FILTER BED (4X4X1.5m)-SCHEDULE MAINTENANCE ONCE PER 3YEARS
A4.1 | Remove and Safely dispose Sand Media from each sandfilter | m3 | 24
A4.2 | Inspect the Filter Nozzle | no | 120
A4.3 | High Pressure Clean Filter Nozzles | no | 120
A4.4 | Replace the damaged Filter Nozzles | no | 120
A4.5 | High pressure Clean underdrain and replace gasketes, Clamps and bolts | sum | 1
A4.6 | Fill the filters with 9-13mm sand media | m3 | 4.8
A4.7 | Fill the filter with 2.4 -4mm sand media | m3 | 7.2
A4.8 | Fill the filter with 0.6 - 1.2mm sand media | m3 | 12
A4.9 | Replace the pilot system | no | 1
A4.10 | Replace the diaphram valve | no | 1
A4.11 | Replace the knife gate valve for sludge drainage | no | 1
GAS CHLORINATION SYSTEM
A5.1 | Service the Grundfos 10Kg/hr Injector once per year | no | 1
A5.2 | Supply & Install the Grundfos 10Kg/hr Injector | no | 1
A5.3 | Service the manifold once per year | no | 1
A5.4 | Supply & Install the manifold | no | 1
A5.5 | replace the heating element once per year | no | 1
A5.6 | replace the filter element of the strainer once per year | no | 1
A5.7 | Service the Vacuum regulator (VGA111) once per year | no | 1
A5.8 | Supply & Install the Vacuum regulator (VGA111) | no | 1
A5.9 | Service the dosing regulator (VGA113)once per year | no | 1
A5.10 | Supply & Install the dosing regulator (VGA113) | no | 1
A5.11 | Replace the 1.2m flexi connectors once per year | no | 1
A5.12 | Service the auto changeover (VB103) device once per year | no | 1
A5.13 | Service the motive water booster pump (once per year) | no | 1
A5.14 | Calibrate the Gas leak detection System | no | 1
A5.15 | Supply & Install the Gas detection System | no | 1
Clear Water booster Pumps: Masihambisane
A6.1 | 1. Removal of the existing 7.5Kw KSB pump with Electrical Motor | no | 1
A6.2 | 2. Supply & Deliver a 7.5Kw KSB pump with Electrical Motor | no | 1
A6.3 | 3. Installation of a 7.5Kw KSB pump with Electrical Motor | no | 1
A6.4 | 4. Commission the 7.5Kw KSB pump | no | 1
A6.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 7.5Kw KSB pump | no | 1
CLEAR WATER BOOSTER PUMP STATION: VUKA
Clear Water booster Pumps: Vuka
A7,1 | 1. Removal of the existing 55Kw KSB pump with Electrical Motor | no | 1
A7,2 | 2. Supply & Deliver a 55Kw KSB pump with Electrical Motor | no | 1
A7,3 | 3. Installation of a 55Kw KSB pump with Electrical Motor | no | 1
A7,4 | 4. Commission the 55Kw KSB pump | no | 1
A7,5 | 5. Supply and Install Mechanical glands, seals & impeller of the 55Kw KSB pump | no | 1
BACK UP GENERATOR
A8.1 | 1. Annual service of PERKINS 150KVA back-up generator | no | 1
A8.2 | 2. Supply and Install Changeover switch for PERKINS 150KVA | no | 1
A8.3 | 3. Supply and Install AVR for PERKINS 150KVA | no | 1
A8.4 | 4. Supply and Install alternator PERKINS 150KVA | no | 1
A8.5 | 5. Power Generator Battery charger: 12 V | no | 1
A8.6 | 6. Power Generator Battery: 12 V | no | 1
SUB TOTAL

## AMSTERDAM
BILL OF MATERIAL FOR PROVISION OF MECHANICAL MAINTENANCE SERVICES
SECTION B: AMSTERDAM WATER TREATMENT WORKS
Item no | Item Description | UOM | QTY | Unit Price Yr 1 | Unit Price Yr 2 | Unit Price Yr 3
RAW WATER PUMP STATION
B1 | Raw Water Pump
B1.1 | 1. Removal of the existing 75Kw KSB pump with Electrical Motor | no | 1
B1.2 | 2. Supply & Deliver a 75Kw KSB pump with Electrical Motor | no | 1
B1.3 | 3. Installation of a 75Kw KSB pump with Electrical Motor | no | 1
B1.4 | 4. Commission the 75Kw KSB pump and motor | no | 1
B1.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 75Kw KSB pump | no | 1
B1.6 | 6. Refurbishment of MCC Panel | no | 1
B1.7 | 7. Supply and delivery of Bulk water meter 250mm | no | 1
B1.8 | 8. Calibration of Bulk water meter 250mm | no | 1
CHEMICAL DOSING SYSTEM
B2 | Chemical Dosing Pumps | no | 1
B2.1 | 1. Removal of the existing Grundfos 22W Dosing pump | no | 1
B2.2 | 2. Supply & Deliver a Grundfos 22W Dosing pump | no | 1
B2.3 | 3. Installation of a Grundfos 22W Dosing pump with pipework | no | 1
B2.4 | 4. Commission the Grundfos 22W Dosing pump | no | 1
B2.5 | 5. Supply and deliver water pump: Grundfos 1.1kW | no | 1
B2.6 | 6. Carry out an annual pump maintenance and calibration on the 22W Dosing pumps and 1.1kw water pump | no | 1
FLOCCULATION CHANNEL
B3. | Flocculation Channel
B3.1 | Sludge removal from the 8x4x0.6m Flocculation chamber once per year | m3 | 3.2
B3.2 | High Pressure Cleaning of the flocculation chamber once per year | m2 | 32
SAND FILTRATION SYSTEM
B4. | SAND FILTER BED (4X4X1.5m)-SCHEDULE MAINTENANCE ONCE PER 3YEARS
B4.1 | Remove and Safely dispose Sand Media from each sandfilter | m3 | 24
B4.2 | Inspect the Filter Nozzle | no | 120
B4.3 | High Pressure Clean Filter Nozzles | no | 120
B4.4 | Replace the damaged Filter Nozzles | no | 120
B4.5 | High pressure Clean underdrain and replace gasketes, Clamps and bolts | sum | 1
B4.6 | Fill the filters with 9-13mm sand media | m3 | 4.8
B4.7 | Fill the filter with 2.4 -4mm sand media | m3 | 7.2
B4.8 | Fill the filter with 0.6 - 1.2mm sand media | m3 | 12
B4.9 | Replace the pilot system | no | 1
B4.10 | Replace the diaphram valve | no | 1
B4.11 | Replace the knife gate valve for sludge drainage | no | 1
B4.12 | Supply and deliver dislodge valve | no | 1
B4.13 | Carry out an annual dislodge valve maintenance | no | 1
GAS CHLORINATION SYSTEM
B5.1 | Service the Grundfos 10Kg/hr Injector once per year | no | 1
B5.2 | Supply & Install the Grundfos 10Kg/hr Injector | no | 1
B5.3 | Service the manifold once per yer | no | 1
B5.4 | Supply & Install the manifold | no | 1
B5.5 | replace the heating element once per year | no | 1
B5.6 | replace the filter element of the strainer once per year | no | 1
B5.7 | Service the Vacuum regulator (VGA111) once per year | no | 1
B5.8 | Supply & Install the Vacuum regulator (VGA111) | no | 1
B5.9 | Service the dosing regulator (VGA113)once per year | no | 1
B5.10 | Supply & Install the dosing regulator (VGA113) | no | 1
B5.11 | Replace the 1.2m flexi connectors once per year | no | 1
B5.12 | Service the auto changeover (VB103) device once per year | no | 1
B5.13 | Service the motive water booster pump (once per year) | no | 1
B5.14 | Calibrate the Gas leak detection System | no | 1
B5.15 | Supply & Install the Gas detection System | no | 1
CLEAR WATER BOOSTER PUMP STATION
Clear Water booster Pumps
B6.1 | 1. Removal of the existing 15Kw KSB pump with Electrical Motor | no | 1
B6.2 | 2. Supply & Deliver a 15Kw KSB pump with Electrical Motor | no | 1
B6.3 | 3. Installation of a 15Kw KSB pump with Electrical Motor | no | 1
B6.4 | 4. Commission the 15 Kw KSB pump | no | 1
B6.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 15Kw KSB pump | no | 1
B6.6 | 6. Removal of the existing 5.5Kw KSB booster pump with Electrical Motor | no | 1
B6.7 | 7. Supply & Deliver a 5.5Kw KSB booster pump with Electrical Motor | no | 1
B6.8 | 8. Installation of a 5.5Kw KSB booster pump with Electrical Motor | no | 1
B6.9 | 9. Commission the 5.5 Kw KSB booster pump | no | 1
B6.10 | 10. Supply and Install Mechanical glands, seals & impeller of the 5.5Kw KSB pump | no | 1
B6.11 | 11. Supply and installation of MCC panel components | no | 1
B6.12 | 12. Refurbishment of MCC panel | no | 1
BACK UP GENERATOR
B.7.1 | 1. Annual service of IVECO 165KVA back-up generator | no | 1
B.7.2 | 2. Supply and Install Changeover switch for IVECO 165KVA | no | 1
B.7.3 | 3. Supply and Install AVR for IVECO 165KVA | no | 1
B.7.4 | 4. Supply and Install alternator IVECO 165KVA | no | 1
B.7.5 | 5. Annual service of IVECO 250KVA back-up generator | no | 1
B.7.6 | 6. Supply and Install Changeover switch for IVECO 250KVA | no | 1
B.7.7 | 7. Supply and Install AVR for IVECO 250KVA | no | 1
B.7.8 | 8. Supply and Install alternator IVECO 250KVA | no | 1
B.7.9 | 9. Power Generator Battery charger: 12 V | no | 1
B.7.10 | 10. Power Generator Battery: 12 V | no | 1
B.7.11 | 11. Supply and Install Compressor 2.2kw 3hp 2l | no | 1
B.7.12 | 12. Blower: Universal RAI Type 53M | no | 1
B.7.13 | 13. Blower Motor: 9.2kW, 1470rpm,50Hz, 17.1A, Frame: 132M | no | 1
SUB TOTAL

## OLD PIET RETIEF
BILL OF MATERIAL FOR PROVISION OF MECHANICAL MAINTENANCE SERVICES
Item no | Item Description | UOM | QTY | Unit Price Yr 1 | Unit Price Yr 2 | Unit Price Yr 3
SECTION C: MKHONDO OLD WATERWORKS
C1 | Raw Water Pump
C1.1 | 1. Removal of the existing 110Kw KSB pump with Electrical Motor | no | 1
C1.2 | 2. Supply & Deliver a 110Kw KSB pump with Electrical Motor | no | 1
C1.3 | 3. Installation of a 110Kw KSB pump with Electrical Motor | no | 1
C1.4 | 4. Commission the 110Kw KSB pump and motor | no | 1
C1.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 110Kw KSB pump | no | 1
C1.6 | 6. Refurbishment of MCC Panel | no | 1
C1.7 | 7 Supply and delivery of Bulk water meter 250mm | no | 1
C1.8 | 8. Supply and delivery of Bulk water meter 450mm | no | 1
C1.9 | 9. Calibration of Bulk water meter 250mm | no | 1
C1.10 | 10. Calibration of Bulk water meter 250mm | no | 1
CHEMICAL DOSING SYSTEM
C2 | Chemical Dosing Pumps | no
C2.1 | 1. Removal of the existing Grundfos 0.25kw Dosing pump | no | 1
C2.2 | 2. Supply & Deliver a Grundfos 0.25kw Dosing pump | no | 1
C2.3 | 3. Installation of a Grundfos 0.25kw Dosing pump with pipework | no | 1
C2.4 | 4. Commission the Grundfos 0.25kw Dosing pump | no | 1
C2.5 | 6. Carry out an annual pump maintenance and calibration on the 0.25kw Dosing pumps | no | 1
FLOCCULATION CHANNEL
C3. | Flocculation Channel
C3.1 | Sludge removal from the 8x4x0.6m Flocculation chamber once per year | m3 | 3.2
C3.2 | High Pressure Cleaning of the flocculation chamber once per year | m2 | 32
SAND FILTRATION SYSTEM
C4. | SAND FILTER BED (4X4X1.5m)-SCHEDULE MAINTENANCE ONCE PER 3YEARS
C4.1 | Remove and Safely dispose Sand Media from each sandfilter | m3 | 24
C4.2 | Inspect the Filter Nozzle | no | 120
C4.3 | High Pressure Clean Filter Nozzles | no | 120
C4.4 | Replace the damaged Filter Nozzles | no | 120
C4.5 | High pressure Clean underdrain and replace gasketes, Clamps and bolts | sum | 1
C4.6 | Fill the filters with 9-13mm sand media | m3 | 4.8
C4.7 | Fill the filter with 2.4 -4mm sand media | m3 | 7.2
C4.8 | Fill the filter with 0.6 - 1.2mm sand media | m3 | 12
C4.9 | Replace the pilot system | no | 1
C4.10 | Replace the diaphram valve | no | 1
C4.11 | Replace the knife gate valve for sludge drainage | no | 1
C4.12 | Supply and deliver dislodge valve | no | 1
C4.13 | Carry out an annual dislodge valve maintenance | no | 1
GAS CHLORINATION SYSTEM
C5.1 | Service the Grundfos 10Kg/hr Injector once per year | no | 1
C5.2 | Supply & Install the Grundfos 10Kg/hr Injector | no | 1
C5.3 | Service the manifold once per yer | no | 1
C5.4 | Supply & Install the manifold | no | 1
C5.5 | replace the heating element once per year | no | 1
C5.6 | replace the filter element of the strainer once per year | no | 1
C5.7 | Service the Vacuum regulator (VGA111) once per year | no | 1
C5.8 | Supply & Install the Vacuum regulator (VGA111) | no | 1
C5.9 | Service the dosing regulator (VGA113)once per year | no | 1
C5.10 | Supply & Install the dosing regulator (VGA113) | no | 1
C5.11 | Replace the 1.2m flexi connectors once per year | no | 1
C5.12 | Service the auto changeover (VB103) device once per year | no | 1
C5.13 | Service the motive water booster pump (once per year) | no | 1
C5.14 | Calibrate the Gas leak detection System | no | 1
C5.15 | Supply & Install the Gas detection System | no | 1
CLEAR WATER BOOSTER PUMP STATION
Clear Water booster Pumps
C6.1 | 1. Removal of the existing 132Kw KSB pump with Electrical Motor | no | 1
C6.2 | 2. Supply & Deliver a 132Kw KSB pump with Electrical Motor | no | 1
C6.3 | 3. Installation of a 132Kw KSB pump with Electrical Motor | no | 1
C6.4 | 4. Commission the 132 Kw KSB pump | no | 1
C6.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 132Kw KSB pump | no | 1
C6.6 | 6. Removal of the existing 15Kw KSB booster pump with Electrical Motor | no | 1
C6.7 | 7. Supply & Deliver a 15Kw KSB booster pump with Electrical Motor | no | 1
C6.8 | 8. Installation of a 15Kw KSB booster pump with Electrical Motor | no | 1
C6.9 | 9. Commission the 15 Kw KSB booster pump | no | 1
C6.10 | 10. Supply and Install Mechanical glands, seals & impeller of the 15Kw KSB pump | no | 1
C6.11 | 11. Supply and installation of MCC panel components | no | 1
C6.12 | 12. Refurbishment of MCC panel | no | 1
BACK UP GENERATOR
C.7.1 | 1. Annual service of PERKINS 1500KVA back-up generator | no | 1
C.7.2 | 2. Supply and Install Changeover switch for PERKINS 1500KVA back-up generator | no | 1
C.7.3 | 3. Supply and Install AVR for PERKINS 1500KVA back-up generator | no | 1
C.7.4 | 4. Supply and Install alternator PERKINS 1500KVA back-up generator | no | 1
C.7.5 | 5. Power Generator Battery charger: 12 V | no | 1
C.7.6 | 6. Power Generator Battery: 12 V | no | 1
C.7.7 | 7. Supply and deliver Blower:5.5kw, 1480rpm, 380v, 50Hz, 11.6A, Frame: DZ132S | no | 1
SUB TOTAL

## NEW PIET-RETIEF
BILL OF MATERIAL FOR PROVISION OF MECHANICAL MAINTENANCE SERVICES
Item no | Item Description | UOM | QTY | Unit Price Yr 1 | Unit Price Yr 2 | Unit Price Yr 3
SECTION D: MKHONDO NEW WATERWORKS
CHEMICAL DOSING SYSTEM
D2 | Chemical Dosing Pumps | no | 1
D2.1 | 1. Removal of the existing Grundfos 0.25kw Dosing pump | no | 1
D2.2 | 2. Supply & Deliver a Grundfos 0.25kw Dosing pump | no | 1
D2.3 | 3. Installation of a Grundfos 0.25kw Dosing pump with pipework | no | 1
D2.4 | 4. Commission the Grundfos 0.25kw Dosing pump | no | 1
D2.6 | 6. Carry out an annual pump maintenance and calibration on the 0.25kw Dosing pumps | no | 1
FLOCCULATION CHANNEL
D3. | Flocculation Channel
D3.1 | Sludge removal from the 8x4x0.6m Flocculation chamber once per year | m3 | 3.2
D3.2 | High Pressure Cleaning of the flocculation chamber once per year | m2 | 32
SAND FILTRATION SYSTEM
D4. | SAND FILTER BED (4X4X1.5m)-SCHEDULE MAINTENANCE ONCE PER 3YEARS
D4.1 | Remove and Safely dispose Sand Media from each sandfilter | m3 | 24
D4.2 | Inspect the Filter Nozzle | no | 120
D4.3 | High Pressure Clean Filter Nozzles | no | 120
D4.4 | Replace the damaged Filter Nozzles | no | 120
D4.5 | High pressure Clean underdrain and replace gasketes, Clamps and bolts | sum | 1
D4.7 | Fill the filters with 9-13mm sand media | m3 | 4.8
D4.8 | Fill the filter with 2.4 -4mm sand media | m3 | 7.2
D4.9 | Fill the filter with 0.6 - 1.2mm sand media | m3 | 12
D4.10 | Replace the pilot system | no | 1
D4.11 | Replace the diaphram valve | no | 1
D4.11 | Replace the knife gate valve for sludge drainage | no | 1
D4.12 | Supply and deliver dislodge valve | no | 1
D4.13 | Carry out an annual dislodge valve maintenance | no | 1
GAS CHLORINATION SYSTEM
D5.1 | Service the Grundfos 10Kg/hr Injector once per year | no | 1
D5.2 | Supply & Install the Grundfos 10Kg/hr Injector | no | 1
D5.3 | Service the manifold once per yer | no | 1
D5.4 | Supply & Install the manifold | no | 1
D5.5 | replace the heating element once per year | no | 1
D5.6 | replace the filter element of the strainer once per year | no | 1
D5.7 | Service the Vacuum regulator (VGA111) once per year | no | 1
D5.8 | Supply & Install the Vacuum regulator (VGA111) | no | 1
D5.9 | Service the dosing regulator (VGA113)once per year | no | 1
D5.10 | Supply & Install the dosing regulator (VGA113) | no | 1
D5.11 | Replace the 1.2m flexi connectors once per year | no | 1
D5.12 | Service the auto changeover (VB103) device once per year | no | 1
D5.13 | Service the motive water booster pump (once per year) | no | 1
D5.14 | Calibrate the Gas leak detection System | no | 1
D5.15 | Supply & Install the Gas detection System | no | 1
CLEAR WATER BOOSTER PUMP STATION
Clear Water booster Pumps
D6.1 | 1. Removal of the existing 220Kw KSB pump with Electrical Motor | no | 1
D6.2 | 2. Supply & Deliver a 220Kw KSB pump with Electrical Motor | no | 1
D6.3 | 3. Installation of a 220Kw KSB pump with Electrical Motor | no | 1
D6.4 | 4. Commission the 220 Kw KSB pump | no | 1
D6.5 | 5. Supply and Install Mechanical glands, seals & impeller of the 220Kw KSB pump | no | 1
D6.6 | 6. Removal of the existing 15Kw KSB booster pump with Electrical Motor | no | 1
D6.7 | 7. Supply & Deliver a 15Kw KSB booster pump with Electrical Motor | no | 1
D6.8 | 8. Installation of a 15Kw KSB booster pump with Electrical Motor | no | 1
D6.9 | 9. Commission the 15 Kw KSB booster pump | no | 1
D6.10 | 10. Supply and Install Mechanical glands, seals & impeller of the 15Kw KSB pump | no | 1
D6.11 | 11. Supply and installation of MCC panel components | no | 1
D6.12 | 12. Refurbishment of MCC panel | no | 1
BACK UP GENERATOR
D.7.1 | 1. Annual service of PERKINS 1000KVA back-up generator | no | 1
D7.2 | 2. Supply and Install Changeover switch for PERKINS 1000KVA back-up generator | no | 1
D7.3 | 3. Supply and Install AVR for PERKINS 1000KVA back-up generator | no | 1
D7.4 | 4. Supply and Install alternator PERKINS 1000KVA back-up generator | no | 1
D7.5 | 5. Power Generator Battery charger: 12 V | no | 1
D7.6 | 6. Power Generator Battery: 12 V | no | 1
D7.7 | 7. Supply and deliver Blower:5.5kw, 1480rpm, 380v, 50Hz, 11.6A, Frame: DZ132S | no | 1
SUB TOTAL

## PR WWTW
BILL OF MATERIAL FOR PROVISION OF MECHANICAL MAINTENANCE SERVICES
SECTION E: MKHONDO WASTEWATER TREATMENT WORKS
Item no | Item Description | UOM | QTY | Unit Price Yr 1 | Unit Price Yr 2 | Unit Price Yr 3
INLET WORKS
E1 | Carry out Electrical repairs of the Ultra-SONIC Flow Meter
E1.1 | Supply and deliver7.5Kw screw conveyor pumps | no | 1
E1.2 | Supply and deliver grit channel 160mm gate valves | no | 1
E1.3 | Annual Calibration of the Ultra-Sonic Flow-meter | no | 1
E1.4 | Annual maintenance of sluice gates through Corrossion painting | no | 1
E1.5 | Annual maintenance of grit channel 160mm gate valves | no | 1
E1.6 | Annual maintenance of 7.5Kw screw conveyor pumps | no | 1
Item no | PRIMARY SETTLING TANKS, WAS PUMPS AND MECHANICAL SCREEN
E2.1 | Supply and deliver 5Kw Submersible WAS pumps | no | 1
E2.2 | Supply and deliver 4.2Kw flygt pump | no | 1
E2.3 | Supply and deliver 9Kw flygt pump | no | 1
E2.4 | Removal and Safe Disposal of Sludge from each PST | m3 | 265
E2.5 | Annual Maintenance of 5Kw Submersible WAS pumps | no | 1
E2.6 | Annual Maintenance of Mechanical screen | no | 1
E2.7 | Annual maintenance 30kw submersible sludge pump | no | 1
E2.8 | Annual maintenance 4.2Kw flygt pump | no | 1
E2.9 | Annual maintenance 9Kw flygt pump | no | 1
Item no | BIOLOGICAL NUTRIENT REMOVAL (BNR) TANK
E3.1 | Supply and deliver 5.5Kw Anoxic mixer gearbox & motors | no | 1
E3.2 | Supply and deliver 7.5Kw recycling pumps | no | 1
E3.3 | Supply and deliver 5.0Kw WAS pumps | no | 1
E3.4 | Supply and deliver DO & TSS meter | no | 1
E3.5 | Supply and deliver 37Kw Aerator gearbox & motors | no | 1
E3.6 | Removal and Safe Disposal of sludge from BNR | m3 | 2250
E3.7 | Annual maintenance of 5.5Kw Anoxic mixer gearbox & motors | no | 1
E3.8 | Annual maintenance of 7.5Kw recycling pumps | no | 1
E3.9 | Annual maintenance of 5.0Kw WAS pumps | no | 1
E3.10 | Annual maintenance of DO & TSS meter | no | 1
E3.11 | Annual maintenance of 37Kw Aerator gearbox & motors | no | 1
SECONDARY SETTLING TANKS AND RAS PUMPS
E4.1 | Supply and deliver 2.2Kw Wheel drive | no | 1
E4.2 | Supply and deliver 5,5Kw Submersible RAS pumps | no | 1
E4.3 | Supply and deliver UltraSonic Flow-meter | no | 1
E4.4 | Removal and Safe Disposal of Sludge from each SST | m3 | 1060
E4.5 | Annual maintenance of 2.2Kw Wheel drive | no | 1
E4.6 | Annual maintenance of 5,5Kw Submersible RAS pumps | no | 1
E4.7 | Annual Calibration of the UltraSonic Flow-meter | m3 | 0.3
E4.8 | Annual maintenance of Telescopic valves | m3 | 0.6
GAS CHLORINATION SYSTEM
E5.1 | Service the Grundfos 10Kg/hr Injector once per year | no | 1
E5.2 | Supply & Install the Grundfos 10Kg/hr Injector | no | 1
E5.3 | Service the manifold once per year | no | 1
E5.4 | Supply & Install the manifold | no | 1
E5.5 | replace the heating element once per year | no | 1
E5.6 | replace the filter element of the strainer once per year | no | 1
E5.7 | Service the Vacuum regulator (VGA111) once per year | no | 1
E5.8 | Supply & Install the Vacuum regulator (VGA111) | no | 1
E5.9 | Service the dosing regulator (VGA113)once per year | no | 1
E5.10 | Supply & Install the dosing regulator (VGA113) | no | 1
E5.11 | Replace the 1.2m flexi connectors once per year | no | 1
E5.12 | Service the auto changeover (VB103) device once per year | no | 1
E5.13 | Service the motive water booster pump (once per year) | no | 1
E5.14 | Calibrate the Gas leak detection System | no | 1
E5.15 | Supply & Install the Gas detection System | no | 1
DRYING BEDS
E6.1 | Annual maintenance of Drying Beds 160mm Gate Valves | no | 1
E6.2 | Provision for cleaning of each drying beds (7.5m X 10m x 300mm) | no | 1
DIGESTER
E7.1 | Removal and Safe Disposal of sludge | m3 | 132
E7.2 | Annual maintenance of 15kW Digester Mixers | no | 1
E7.3 | Annual maintenance of 15Kw Digester Recycling Pumps | no | 1
BACK UP GENERATOR
E8.1 | 1. Annual service of PERKINS 450KVA back-up generator | no | 1
E8.2 | 2. Supply and Install Changeover switch for PERKINS 450KVA back-up generator | no | 1
E8.3 | 3. Supply and Install AVR for PERKINS 1000KVA back-up generator | no | 1
E8.4 | 4. Supply and Install alternator PERKINS 1000KVA back-up generator | no | 1
E8.5 | 5. Power Generator Battery charger: 12 V | no | 1
E8.6 | 6. Power Generator Battery: 12 V | no | 1
SUB TOTAL

## PUMP STATIONS
BILL OF MATERIAL FOR PROVISION OF MECHANICAL MAINTENANCE SERVICES
SECTION F: PUMP STATIONS
Item no | Item Description | UOM | QTY | Unit Price Yr 1 | Unit Price Yr 2 | Unit Price Yr 3
EZIPHUNZINI PUMP STATION
F1.1 | Supply and deliver Submersible water pump: KSB, ETA 200-40, Impeller Diameter 342mm, 504m³/h | no | 1
F1.2 | Supply and deliver Water pump: KSB, ETA 200-33, Impeller Diameter: 282.9/283.00 | no | 1
F1.3 | Supply and deliver Water motor: 45Kw, 400/690v, 1480rpm, 80.5/46.6A, 50Hz, frame: 225M | no | 1
F1.4 | Annual maintenance of ETA 200-40, Impeller Diameter 342mm, 504m³/h | no | 1
F1.5 | Annual maintenance of ETA 200-33, Impeller Diameter: 282.9/283.00 | no | 1
F1.6 | Annual maintenance of motor 45Kw, 400/690v, 1480rpm, 80.5/46.6A, 50Hz, frame: 225M | no | 1
Item no | KWA-NGEMA PUMP STATION
F2.1 | Supply and deliver Water motor: 22Kw, 400v, 2945rpm, 39.1A, 50Hz, frame: 180M-2 | no | 1
F2.2 | Supply and deliver Water motor: 45Kw, 400/690v, 2985rpm, 81-74A, 50Hz, frame: 225M | no | 1
F2.3 | Supply and deliver VERTICAL MULTISTAGE PUMP, SVM 64-40 | no | 1
F2.4 | Supply and deliver Grundfos water pump: CR64-8-1 A-F-A-E-HQQE, VERTICAL PUMP | no | 1
F2.5 | Annual maintenance of VERTICAL MULTISTAGE PUMP, SVM 64-40 | no | 1
F2.6 | Annual maintenance of Grundfos water pump: CR64-8-1 A-F-A-E-HQQE, VERTICAL PUMP | no | 1
F2.7 | Annual Maintenance of 22Kw, 400v, 2945rpm, 39.1A, 50Hz, frame: 180M-2 | no | 1
F2.8 | Annual Maintenance of 45Kw, 400/690v, 2985rpm, 81-74A, 50Hz, frame: 225M | no | 1
NKONJANENI PUMP STATION
F3.1 | Supply and deliver Water motor: 75Kw, 400v, 1480rpm, 133A, 50Hz, frame: 250M | no | 1
F3.2 | Supply and deliver Water motor: 11Kw, 400v, 2930rpm, 26A, 50Hz, frame: 160M | no | 1
F3.3 | Supply and deliver Water pump: KSB, ETANORM 200-150-400, Impeller Diameter: 402.0 | no | 1
F3.4 | Annual maintenance of 75Kw, 400v, 1480rpm, 133A, 50Hz, frame: 250M | no | 1
F3.5 | Annual maintenance of KSB, ETANORM 200-150-400, Impeller Diameter: 402.0 | no | 1
F3.6 | Annual maintenance of 11Kw, 400v, 2930rpm, 26A, 50Hz, frame: 160M | no | 1
MAPHEPHENI PUMP STATION
F4.1 | Supply and deliver Water motor: 11Kw, 400v, 2930rpm, 20A, 50Hz, frame: 160M | no | 1
F4.2 | Supply and deliver Water motor: 30Kw, 400v, 2950rpm, 52.6A, 50Hz, frame: 160M | no | 1
F4.3 | Supply and deliver Water pump: KSB, ETA 200-40, Impeller Diameter 141.0 and 206.0 and full size | no | 1
F4.4 | Annual maintenance of Water motor: 11Kw, 400v, 2930rpm, 20A, 50Hz, frame: 160M | no | 1
F4.5 | Annual maintenance of Water motor: 30Kw, 400v, 2950rpm, 52.6A, 50Hz, frame: 160M | no | 1
F4.6 | Annual maintenance of Water pump: KSB, ETA 200-40, Impeller Diameter 141.0 and 206.0 and full size | no | 1
MARK STREET PUMP STATION
F5.1 | Supply and deliver water pump: KSB, ETA 200-40, Impeller Diameter 342mm, 504m³/h | no | 1
F5.2 | Supply and deliver Water pump and motor: C.R.I Pumps, single unit 15Kw, 2900rpm, 380v, 29.4A, 50Hz | no | 1
F5.3 | Annual maintenance of water pump: KSB, ETA 200-40, Impeller Diameter 342mm, 504m³/h | no | 1
F5.4 | Annual maintenance of Water pump and motor: C.R.I Pumps, single unit 15Kw, 2900rpm, 380v, 29.4A, 50Hz | no | 1
MAHAMBA PUMP STATION
F6.1 | Supply and deliver Water motor: 22Kw, 400v, 2950rpm, 22.3A, 50Hz, frame: 180m | no | 1
F6.2 | Supply and deliver Water pump: KSB, ETANORM 065:050-200, GG 01A PO, Impeller Diameter full size, | no | 1
F6.3 | Annual maintenance of Water motor: 22Kw, 400v, 2950rpm, 22.3A, 50Hz, frame: 180m | no | 1
F6.4 | Annual maintenance of Water pump: KSB, ETANORM 065:050-200, GG 01A PO, Impeller Diameter full size, | no | 1
MANGOSUTHU, PHOSWA AND EZINKOMENI PUMP STATIONS
F7.1 | Sludge removal from the 12x1.2x0.6m Sludge sump once per year | no | 1
F7.2 | Supply and deliver submersible pump: 15Kw, 415v, 550m3/h,50Hz, frame: 42m | no | 1
F7.3 | Supply and deliver submersible pump: 11Kw, 380v, 260m3/h , 22A, 50Hz, frame: 24m | no | 1
F7.4 | Supply and deliver 100KVA Transformer | no | 1
F7.5 | Supply and deliver 200KVA Transformer | no | 1
F7.6 | Annual maintenance of submersible pump: 15Kw, 415v, 550m3/h,50Hz, frame: 42m | no | 1
F7.7 | Annual maintenance of submersible pump: 11Kw, 380v, 260m3/h , 22A, 50Hz, frame: 24m | no | 1
F7.8 | Annual maintenance of 100KVA Transformer | no | 1
F7.9 | Annual maintenance of 200KVA Transformer | no | 1
SUB TOTAL

## SUMMARY
MKHONDO LOCAL MUNICIPALITY
BID DESCCRIPTION: APPOINTMENT OF SERVICE PROVIDER FOR REPAIRS AND MAINTENANCE OF ELECTRICAL MOTORS, ELECTRICAL PANELS, PUMPS AND ASSOCIATED EQUIPMENT ON AS AND WHEN REQUIRED FOR A PERIOD OF 36 MONTHS
SUMMARY OF PRICING SCHEDULE
CALCULATION OF TENDER SUM
ITEM | DESCRIPTION | AMOUNT
SECTION A | DRIEFONTEIN WATERWORKS
SECTION B | AMSTERDAM WATERWORKS
SECTION C | MKHONDO OLD WATERWOORKS
SECTION D | MKHONDO NEW WATERWORKS
SECTION E | MKHONDO WASTEWATER WORKS
SECTION F | PUMP STATIONS
SUB TOTAL (A+B+C+D+E+F)
VAT @ 15%
TOTAL CARRIED TO FORM OFFER